## Introduction
This ReadMe file describes the column headers of each of the csv files included into the SMARTEOLE Wind Farm Control open dataset.
Please refer to the dedicated tab for a complete description of each variable.

## ControlLog
All variables (except timestamp) are in the form "control_log_(variable)_(statistics)". The control box system was installed on SMV6 wind turbine.
Variable | Description | Associated statistics
time | Timestamp
wind_speed | Turbine nacelle wind speed (measured by the control log system) | average, minimum, maximum, standard deviation, count (number of samples over the 1-min period)
wind_speed_filt_60s | Turbine nacelle wind speed after low pass filter (with time constant of 60s) | average, minimum, maximum, standard deviation, count (number of samples over the 1-min period)
position_nacelle | Turbine nacelle position (measured by the control log system) | average, minimum, maximum, standard deviation, count (number of samples over the 1-min period)
position_nacelle_filt_60s | Turbine nacelle position after low pass filter (with time constant of 60s) | average, minimum, maximum, standard deviation, count (number of samples over the 1-min period)
wind_vane | Turbine wind vane (measured by the control log system) | average, minimum, maximum, standard deviation, count (number of samples over the 1-min period)
wind_vane_filt_60s_deg | Turbine wind vane after low pass filter (with time constant of 60s) | average, minimum, maximum, standard deviation, count (number of samples over the 1-min period)
wind_direction_filt_60s_deg | Turbine reconstructed wind direction (i.e. sum of nacelle position and wind vane signal) and post-processed with a low pass filter (with time constant of 60s) | average, minimum, maximum, standard deviation, count (number of samples over the 1-min period)
gnssdata_heading | Turbine nacelle position measured by the GNSS compass installed on the turbine | average, minimum, maximum, standard deviation, count (number of samples over the 1-min period)
offset | Applied yaw misaliagnment offset on the turbine | average, minimum, maximum, standard deviation, count (number of samples over the 1-min period)
offset_active | Whether the applied offset is active (1 = active, 0 = inactive, in between = proportion of time of activation during the 1-minute period) | average, minimum, maximum, standard deviation, count (number of samples over the 1-min period)

## SCADA
All variables (except timestamp) are in the form "(variable)_(turbine number)_(statistics)". The count value is generally slightly below 60 due to filtered frozen data.
Variable | Description | Associated turbines | Associated statistics
time | Timestamp
active_power | Turbine active power | 1, 2, 3, 4, 5, 6, 7 | average, minimum, maximum, standard deviation, count (number of samples over the 1-min period)
blade_pitch_angle | Turbine blade pitch angle | 1, 2, 3, 4, 5, 6, 7 | average, minimum, maximum, standard deviation, count (number of samples over the 1-min period)
wind_speed | Turbine nacelle wind speed | 1, 2, 3, 4, 5, 6, 7 | average, minimum, maximum, standard deviation, count (number of samples over the 1-min period)
nacelle_position | Turbine nacelle postion | 1, 2, 3, 4, 5, 6, 7 | average, minimum, maximum, standard deviation, count (number of samples over the 1-min period)
wind_vane | Turbine wind vane | 1, 2, 3, 4, 5, 6, 7 | average, minimum, maximum, standard deviation, count (number of samples over the 1-min period)
wind_direction | Turbine wind direction | 1, 2, 3, 4, 5, 6, 7 | average, minimum, maximum, standard deviation, count (number of samples over the 1-min period)
generator_speed | Turbine generator speed | 1, 2, 3, 4, 5, 6, 7 | average, minimum, maximum, standard deviation, count (number of samples over the 1-min period)
temperature | Turbine outdoor nacelle temperature | 1, 2, 3, 4, 5, 6, 7 | average, minimum, maximum, standard deviation, count (number of samples over the 1-min period)
derate | Turbine derating indicator (boolean). 0 = no derating, 1 = suspected dereting (conservative estimate) | 1, 2, 3, 4, 5, 6, 7

## WindCube
All variables (except timestamp and 10-min turbulence intensity) are in the form "(variable)_(statistics)_(measurement height)". Mesurements cover the full span of the rotor (from 40 to 120m by steps of 10m) with an extra range at 200m
Variable | Description | Associated statistics | Measurement height
time | Timestamp
ws | Wind speed | average, minimum, maximum, standard deviation | 40, 50, 60, 70, 80, 90, 100, 110, 120, 200
wa | Wind direction | average | 40, 50, 60, 70, 80, 90, 100, 110, 120, 200
u | Wind speed u component (North -> South orientation) | average, minimum, maximum, standard deviation | 40, 50, 60, 70, 80, 90, 100, 110, 120, 200
v | Wind speed v component (East -> West orientation) | average, minimum, maximum, standard deviation | 40, 50, 60, 70, 80, 90, 100, 110, 120, 200
cnr | Carrier to Noise Ratio | average, minimum, maximum, standard deviation | 40, 50, 60, 70, 80, 90, 100, 110, 120, 200
avail | Measurement availability (1 = available, 0 = unavailable, in between = proportion of time of availability during the 1-minute period) | average | 40, 50, 60, 70, 80, 90, 100, 110, 120, 200
ti_10min_80 | Measured turbulence intensity at turbine hub height (80m). Taken from the 10-min regular files of the WindCube, and repeated over the full period. |  | 80

## GuaranteedPowerCurve
Variable | Description
V | Wind speed bin
P | Active power
Ct | Thrust coefficient

## NTF_SMV6
Nacelle Transfer Function correcting the SMV6 wind speed measurement to match free stream measurement at 150m upstream (measured by the WindCube nacelle lidar)
Variable | Description
wind_speed_6 | SMV6 wind speed beam
wind_speed_freestream | Multiplicative factor to apply to SMV6 wind speed in order to match the freestream wind speed

## Correction_factors_1237
Transfer Function correcting the bias on wind speed and active power average values from turbine SMV1, SMV2, SMV3 and SMV7 to match SMV6 behavior in baseline situation. This is applied in Simley et al. (2021) to obtain the reference signals for calculated the energy gains (see paper for more info)
Variable | Description
wind_direction_1237 | Wind direction bin for the average value from turbines 1, 2, 3 and 7
wind_speed_1237 | Wind speed bin for the average value from turbines 1, 2, 3 and 7
power_correction_factor_1237 | Multiplicative factor to correct the active power signal obtained by averaging values from turbines 1, 2, 3 and 7
wind_speed_correction_factor_1237 | Multiplicative factor to correct the wind speed signal obtained by averaging values from turbines 1, 2, 3 and 7

## Coordinates
Variable | Description
Turbine | Turbine number or WindCube
Latitude | Latitude in WGS84 system
Longitude | Longitude in WGS84 system
X_RGF93 | X in French Lambert 93 system
Y_RGF93 | Y in French Lambert 93 system